## Hoja1
Key features | 64 MAX
Temperature Range | -30 °C to 600 °C
(-22 °F to 1112 °F)
Accuracy (Calibration geometry with ambient temperature 23 °C +/- 2 °C | ± 1.0 °C or ± 1.0 % of reading, whichever is greater
± 2.0 °C at -10 °C to 0 °C
± 3.0 °C at -30 °C to -10 °C
Optical Resolution | 20:01
(calculated at 90 % energy)
Response Time (95 %) | < 500 ms (95% of reading)
Spectral Response | 8 to 14 microns
Emissivity | 0.10 to 1.00
Display Resolution | 0.1 °C (0.2 °F)
Repeatability (% of reading) | ± 0.5% of reading or ± 0.5 °C (whichever is greater)
Auto Capture | Set time and interval to capture up to 99 measurements
Internal memory | 99 data point logging capability
Flashlight | Yes
Power | 1 AA battery
Battery life | 30 hours with laser and backlight on
Weight | 255 g (8.99 oz)
Size | (175 x 85 x 75) mm (6.88 x 3.34 x 2.95) inches
Operating Temperature | 0 °C to 50 °C (32 °F to 122 °F)
Storage Temperature | -20 °C to 60 °C (-4 °F to 140 °F) (without battery)
Operating Humidity | Non- condensing @ ≤ 10 °C (50 °F)
≤ 90 % RH @ 10 °C (50 °F) to 30 °C (86 °F)
≤ 75 % RH @ 30 °C (86 °F) to 40 °C (104 °F)
≤ 45 % RH @ 40 °C 104 °F to 50 °C (122 °F)
Operating Altitude | 2,000 meters above mean sea level
Optical Resolution | 12,000 meters above mean sea level
Drop test | 3 meters
Implement Standard | Q/ASF01
Compliance | IEC 61010-1: Pollution Class 2
Laser Safety | IEC 60825-1 Class 2, 650 nm, < 1 mW
Ingress Protection Rating | IP 54 per IEC 60529
Warranty | 3 years